## Sheet1
SlNo | Product Name | Product Short Name | Full Description | Short Description | Manufacture | Product Category | Item Code/ Part Number | Unit | Box Quantity | Warrenty | Payment | Validity
1 | Ambu AuraOnce Laryngeal Mask | LMA | Available in size 1,1 1/2,2,2 1/2,3,4,5,6 Phthalate free,Disposable,Built-in anatomically correct curve for fast and easy insertion | Phthalate free | Ambu A/S | LMA | 321100000 | 1 | 1 | Nil | 100% Advance | 3 months
2 | Ambu AuraGain | LMA | Available in size 1,1 1/2,2,2 1/2,3,4,5,6.Phthalate free,Disposable,Integrated gastric access channel for managing gastric content | Phthalate free | Ambu A/S | LMA | 408100000 | 1 | 1 | Nil | 100% Advance | 3 months
3 | Ambu® Aura40™ | LMA | Available in size 1,1 1/2,2,2 1/2,3,4,5,6.Extra soft cuff ensures the best possible seal with least possible internal pressure. Color-coded pilot balloon identifies mask size and provides precise tactile indication of degree of inflation | Color-coded pilot balloon identifies mask size and provides precise tactile indication of degree of inflation | Ambu A/S | LMA | 326100000 | 1 | 1 | Nil | 100% Advance | 3 months
4 | Ambu Aura-i | LMA | Available in size 1,1 1/2,2,2 1/2,3,4,5,6.Disposable, Ambu Aura-i is an excellent alternative to a face mask for achieving and maintaining control of the airway during routine and emergency anaesthetic procedures in patients evaluated as eligible for a supraglottic airway, or in situations where other attempts to establish an airway have failed. | maintaining control of the airway during routine and emergency anaesthetic procedures in patients evaluated as eligible for a supraglottic airway | Ambu A/S | LMA |  | 1 | 1 | Nil | 100% Advance | 3 months
5 | Ambu AuraStraight | LMA | Available in size 1,1 1/2,2,2 1/2,3,4,5,6.Disposable,Ambu AuraStraight provides users with an even greater choice and an alternative to the already popular AuraOnce curved laryngeal mask for use both in anaesthesia and emergency medicine. Ambu AuraStraight comes in a full range of 8 sizes from neonate to large adult. | Ambu AuraStraight comes in a full range of 8 sizes from neonate to large adult. | Ambu A/S | LMA | 324100000 | 1 | 1 | Nil | 100% Advance | 3 months
6 | Ambu Mark IV | AMBU Bag | Available sizes baby and adult,Double wall bag provides build in pressure limitation,Unique single-shutter valve system,100% Latex free | Ambu Mark IV Baby for infants and children with a body weight of up to about 20 kg (4-5 years). | Ambu A/S | resuscitator | 299001000 | 1 | 1 | Nil | 100% Advance | 3 months
7 | Reservoir Bag Mark IV | Reservoir Bag Mark IV | Reusable,Double wall bag provides build in pressure limitation | Double wall bag provides build in pressure limitation | Ambu A/S | AMBU Bag | 304000508 | 1 | 1 | Nil | 100% Advance | 3 months
8 | Ambu SPUR II | AMBU Bag | Available size adult,pediatric.neanatal. The Ambu SPUR II (Single Patient Use Resuscitator) is designed for manual ventilation of adults. | PVC free – made of SEBS,SafeGrip™ surface, Ergonomic, lightweight bag design | Ambu A/S | AMBU Bag | 325002000 | 1 | 1 | Nil | 100% Advance | 3 months
9 | Oval Silicone Res. Neonate | AMBU Bag | Available size adult,pediatric,neanatal.standard Ambu Oval Silicone Resuscitator, with a Mark IV inlet valve, designed for manual ventilation of neonates | Ergonomic, lightweight bag design | Ambu A/S | AMBU Bag | A288203000 | 1 | 1 | Nil | 100% Advance | 3 months
10 | Oval Plus Silicone Resus Pediatric | AMBU Bag | Available size adult,pediatric,neanatal.The Ambu Oval Plus Silicone resuscitator is a standard Ambu Oval Silicone Resuscitator, with a Mark IV inlet valve, designed for manual ventilation of pediatrics | Compatible with Mark IV parts,Easy to clean and sterilize,Ergonomic, lightweight bag design | Ambu A/S | AMBU Bag | 370043000 | 1 | 1 | Nil | 100% Advance | 3 months
11 | King Vision Laryngoscope | Video Laryngoscope | Blade has camera on the tip, ergonomically designed to provide minimal lifting of soft tissue | Anti Fog Lens and White Led light source | Ambu A/S | AMBU Bag | KVLKIT3 | 1 | 1 | Nil | 100% Advance | 3 months
12 | AmbuMan Airway Wireless | Manikin | With Ambu Man Airway all common methods of airway management can be trained. Therefore this training device is not equipped with the Ambu Hygiene System for mouth-to-mouth or mouth-to-nose Ventilation. | Ambu Man Airway all common methods of airway management can be trained. | Ambu A/S | Manikin | A284427000 | 1 | 1 |  | 100% Advance | 3 months
13 | Ambu Airway Management Trainer | Manikin | The Ambu Airway Management Trainer is designed to train all modern airway management techniques. This makes it possible to train the placement of Orotracheal tubes, Laryngeal Masks, Combitube™, Nasotracheal tubes, Nasopharyngeal tubes, Endotracheal tubes and Guedel airways. | The Ambu Airway Management Trainer is easy to clean and can be easy be maintained. All parts can easy be accessed without the need of tools. | Ambu A/S | Manikin | 186002000 | 1 | 1 |  | 100% Advance | 3 months
14 | AirSim Bronchi | Manikin | TruCorp AirSim Bronchi features the AirSim® airway with true, anatomically correct and visually accurate internal features including bronchi down to the fourth generation. This durable training manikin is ideal for practicing nasotracheal intubation and nasally directed fiberoptic examination. | Anatomically correct internal features and visually accurate landmarks in airway and nasal passage | Ambu A/S | Manikin | 900000100 | 1 | 1 |  | 100% Advance | 3 months
15 | Ambu Man Wireless | Manikin | The all-rounder for CPR: can be used both with healthcare professionals and for training non-professionals. Features the licence-free self-training module and Ambu hygiene system. | At the training and control level, the different modules can be configured individually and adapted to the requirements of your course concepts. | Ambu A/S | Manikin | A234407000 | 1 | 1 |  | 100% Advance | 3 months
16 | AmbuMan Instrument | Manikin | Ideal training manikin for advanced BLS algorithm training. Its closed torso helps train on the use of placement of AED pads and defibrillation | Ideal for advanced BLS algorithm training | Ambu A/S | Manikin | A234404000 | 1 | 1 |  | 100% Advance | 3 months
17 | Ambu I.V. Trainer complet | Manikin | The Ambu IV Trainer is for training the insertion of cannulas and catheters, the infusion of fluids and the injection of medication, blood sampling and pulse measurement. | Realistic Training,Replaceable skin and veins,Indicator Panel | Ambu A/S | Manikin | A255001000 | 1 | 1 |  | 100% Advance | 3 months
18 | Ambu® Baby Manikin | Manikin | The Ambu Baby is a lifelike manikin that simulates babies up to the age of one year. | The Ambu Baby is a lifelike manikin that simulates babies up to the age of one year. | Ambu A/S | Manikin | A255001000 | 1 | 1 |  | 100% Advance | 3 months
19 | AmbuMan Defib | Manikin | The specialist in early defibrillation. Offers the basic functions of the AmbuMan Wireless with additional defibrillation option. | The AmbuMan Defib combines the basic function of AmbuMan Wireless with the additional option for early defibrillation | Ambu A/S | Manikin | A265407000 | 1 | 1 |  | 100% Advance | 3 months
20 | AmbuMan Basic | Manikin | The AmbuMan Basic is a cost efficient training manikin that is designed to fulfill all requirements for the BLS algorithm training. | The AmbuMan Basic is a cost efficient training manikin that is designed to fulfill all requirements for the BLS algorithm training. | Ambu A/S | Manikin | A268005000 | 1 | 1 |  | 100% Advance | 3 months
21 | AmbuMan School | Manikin | Ambu Man School is a training manikin which offers human appearance dedicated to the training of all procedures for basic life support resuscitation | AmbuMan School – optimal for education of CPR in schools. | Ambu A/S | Manikin | A268007000 | 10 | 1 |  | 100% Advance | 3 months
22 | Ambu Junior | Manikin | The Ambu junior is a lifelike and cost efficient training manikin that is designed to fulfil all requirements for training of BLS algorithms training. | The Ambu Junior is a child training manikin which offers human anatomical correct landmarks dedicated to the training of external chest compression and ventilation. | Ambu A/S | Manikin | A282010000 | 1 | 1 |  | 100% Advance | 3 months
23 | Ambu Man Advanced IV | Manikin | The Ambu Man Advanced Wireless is an advanced instruction and training manikin designed to train Advanced Life Support and Advanced Cardiac Life Support (ACLS) both inside and outside of the medical. | The Ambu Man Advanced Wireless is a manikin for advanced reanimation and ACLS training! | Ambu A/S | Manikin | A284407000 | 1 | 1 |  | 100% Advance | 3 months
24 | AmbuMan Airway Instrument | Manikin | With AmbuMan Airway all common methods of airway management can be trained. Therefore, this training device is not equipped with the Ambu Hygiene System for mouth-to-mouth or mouth-to-nose Ventilation. | Training of airway management: like laryngeal mask, laryngeal or tracheal tube, combitube, ET tube | Ambu A/S | Manikin | A284424000 | 1 | 1 |  | 100% Advance | 3 months
25 | Open Cuff Silicone mask | Open Cuff Silicone mask | Available sizes 0,1,2,3,4,5.Ambu Open Cuff Silicone Face Masks are transparent for visual check of bleeding, vomitus, and spontaneous breathing. Reusable | Ambu® Open Cuff Silicone Face Masks are designed for use with manual and automatic resuscitators and ventilators. | Ambu A/S | Face Mask | 251001 | 1 | 1 | Nil | 100% Advance | 3 months
26 | Disposable Mask | Disposable Face Mask | Available in sizes infant,Neonatal,small,medium,large.Mask dome and cushion are made of phthalate-free material,All sizes are delivered individually packed, non-sterile, in packs of 20 units. | Ambu Disposable Face Masks are designed for use with manual and automatic resuscitators and ventilators | Ambu A/S | Face Mask | 252051 | 20 | 1 | Nil | 100% Advance | 3 months
27 | Rescue Mask Adult+Infant soft | faceMask | The Ambu ResCue Mask is designed to provide mouth-to mask ventilation.As a physical barrier between the rescuer and the patient Ambu ResCue mask is used to give protected rescue breathing for any patient (any age group) and may also be used with a resuscitator | The Ambu ResCue Mask is designed to provide mouth-to mask ventilation | Ambu A/S | Face Mask | 252123 | 1 | 1 | Nil | 100% Advance | 3 months
28 | RescueMask W/O Ox in Hard case | faceMask | The mask is equipped with a head strap for a fixation of the mask onto the patients face. Thus the rescuer does not loose time for replacement of the mask before mouth to mask ventilation. | The Ambu Res-Cue Mask is designed to provide protected rescue breathing for any patient (any age group) and may also be used with a resuscitator if you detach the filter. | Ambu A/S | Face Mask | 252226 | 1 | 1 | Nil | 100% Advance | 3 months
29 | Head Wedge m. 1 Strap | Head Wedge | With its innovative construction, the Head Wedge enables a perfect fit to the patient in one go, saving time at the scene when seconds count. Made of plastic, which is superior to any cardboard product; there is no need to worry about bad weather because the Head Wedge is even efficient on wet backboards. | The unique Ambu Head Wedge is designed to immobilize a patient’s head instantly and effectively when placed on a backboard. It is applied easily and quickly in just four simple steps. | Ambu A/S | Face Mask | 264034 | 1 | 1 | Nil | 100% Advance | 3 months
30 | Silicone Mask Blue | Silicone Mask | Available sizes 1,2,3,4,5.Ambu Silicone Face Masks are self-inflating for an easy and tight seal. The cuff pressure may be regulated. The mask size 0 with boring impedes ventilation pressures higher than approx. 40 cm H2O, enabling ventilation with an Ambu Mark IV Resuscitator on small children with a body weight down to approx. 15 kg. (approx. 3 years). | The Ambu Silicone Face Mask is designed for use with manual and automatic resuscitators and ventilators. | Ambu A/S | Face Mask | 313000 | 1 | 1 | Nil | 100% Advance | 3 months
31 | Perfit Ace Collar | Perfit Ace Collar | The Ambu Perfit ACE is the only adjustable one-piece rigid cervical spine immobilisation device with 16 precise settings for a customised fit within the range of 4 standard adult settings. The Ambu Perfit ACE comes with a comprehensive sizing system for easy and accurate sizing. | The Ambu® Perfit ACE extrication collar is designed to assist with the maintenance of neutral alignment, prevention of lateral sway and anterior-posterior flexion and extension of the cervical spine during transport and routine patient care or movement. | Ambu A/S | Face Mask | 2810001 | 1 | 1 | Nil | 100% Advance | 3 months
32 | PEEP Valve 20,Disposable | PEEP Valve 20 | The Ambu Disposable PEEP valve has been test in MR conditions. It can be used in MR surrounding up to 3 Tesla. Ambu PEEP Valves have been designed to provide unique resistance characteristics when used with manual resuscitators, ventilators, anaesthesia machines (where specified by the manufacturer) and CPAP systems. | Ambu® PEEP Valves are designed for use with manual resuscitators or ventilators, where specified by the manufacturer. | Ambu A/S | Face Mask | 199102001 | 1 | 1 | Nil | 100% Advance | 3 months
33 | Ambu ResCue Pump | ResCue Pump | The Ambu Res-Cue Pump is the most versatile, hand powered emergency pump. A cost effective alternative that offers convenience and performance and a wide range of features. | The Ambu Res-Cue Pump is a portable, manual, hand-operated emergency suction pump. | Ambu A/S | Face Mask | 276000001 | 1 | 1 | Nil | 100% Advance | 3 months
34 | Ambu Cuff Pressure Gauge | Cuff Pressure Gauge | The dial has two zones of measurement graded in cm H2O with colour coding for optimum visibility. The Luer connection allows the gauge to be connected to laryngeal masks or intubation tubes, either directly or via the connecting tube. | The Ambu Cuff Pressure Gauge is designed to inflate and monitor the pressure of laryngeal masks and intubation tubes with low-pressure cuffs. | Ambu A/S | Manometer | 321000701 | 1 | 1 | Nil | 100% Advance | 3 months
35 | Ambu® Disposable Pressure Manometer | Manometer | Ambu Disposable Pressure Manometer is made from a SEBS material. Using this material the product does not contain any PVC or natural rubber Latex. | The Ambu Disposable Pressure Manometer for single patient use is intended to be used for monitoring the patient's airway pressure. | Ambu A/S | Manometer | 322003000 | 20 | 1 | Nil | 100% Advance | 3 months
36 | Ambu WhiteSensor 4560M ECG Electrods | Ambu WhiteSensor | Highly conductive wet gel, check good adhesion, comfortable foam backing, check radiolucent, MR conditional | The Ambu WhiteSensor 4500M features a wet gel with good adhesion to ensure a good signal quality during short-term ECG monitoring applications. | Ambu A/S | ECG Electrods | 4560M | 60 | 1 | Nil | 100% Advance | 3 months
37 | Ambu Blue Sensor BRS | Blue Sensor BRS | Skin-friendly solid gel,Soft cloth backing material,Small size ideal for neonatal patients,Radiolucent,Special shape for improved adhesion | The tiny radiolucent Ambu BlueSensor BRS has been specially developed for babies and newborns. The electrode features a skin-friendly solid gel that ensures optimal signal quality during monitoring. | Ambu A/S | ECG Electrods | BRS-50-K/EU/3 | 3 | 1 | Nil | 100% Advance | 3 months
38 | A-Scope Monitor Kit | A-Scope Monitor | aView™ is lightweight, easy to set up and ready to show images within seconds after turned on,It can be used continuously for minimum 3 hours with a fully charged battery,It can be quickly mounted on an IV pole or transported by hand, and it fits easily into small spaces,The clear, high resolution images enable easy navigation and identification of anatomical landmarks,Show the live image on an external larger monitor using the video-out port,It is intuitive to use and supports export of recorded images and videos to USB.,aView™ supports training, knowledge sharing and patient involvement. | Ambu® aView™ is a portable high resolution monitor that is compatible with all of Ambu´s single-use flexible scopes including Ambu® aScope™ 4 Broncho and Ambu® aScope™ 4 RhinoLaryngo. | Ambu A/S | Scopes | 405002000 | 1 | 1 | 1 Year | 100% Advance | 3 months
39 | Ambu Twin foot pump with 1000ml container capacity | Twin foot pump | The Ambu Twin pump has a very solid construction that allows it to be used under adverse conditions in all climates.The containers hold approx. 600 ml or 1000 ml, but in an emergency situation the capacity is without limit. Pumping can continue even when the contents start to overflow.The Ambu Twin pump is fast and effective as it allows a free airflow is 70 litres/min or 250 ml of thick fluid sucked up in about two seconds!The special double chamber pump design makes it possible that no vacuum build-up time is wasted and the suction is continuous.The small bore suction tip can easily be removed to enable instant use of the large, 10 mm suction tip for increased speed of suction and to remove larger, solid particles. | The Ambu Twin Pump is a portable, manual suction pump for emergency suction. | Ambu A/S | Suction Pumbs | A000240000 | 1 | 1 | Nil | 100% Advance | 3 months
40 | ambu res-cue pump/handle complete | ambu res-cue pump | The Ambu Res-Cue Pump is the most versatile, hand powered emergency pump. A cost effective alternative that offers convenience and performance and a wide range of features.The compact design takes up only little space and can therefore be placed easily in the emergency bag. The lightweight makes it possible to handle the pump during use easily even when using it over an extended period. | The Ambu Res-Cue Pump is a portable, manual, hand-operated emergency suction pump. | Ambu A/S | Suction Pumbs | 276000001 | 1 | 1 | Nil | 100% Advance | 3 months
41 | M-Lncs/Lncs Softouch Replac Warps | foam Wrap | soft foam wraps – which have been used in multiple prominent CCHD screening studies6-10 - enable quick, comfortable application and removal, without disturbing the patient. |  | Masimo | Pulse oximeter | 2309 | 1 | 12 | Nil | 100% Advance | 3 months
42 | RC-12 RAINBOW PATIENT CABLE | RAINBOW PATIENT CABLE | Featuring Masimo rainbow SET™ Technology and SET® Measure-through Motion and Low Perfusion™ Pulse Oximetry |  | Masimo | Pulse oximeter | 2404 | 1 | 1 | 1 Year | 100% Advance | 3 months
43 | Adult Finger Reusable Sensor | Adult Finger Reusable Sensor | LNCS, or Low Noise Cabled Sensors, are available in a wide variety of designs to serve the needs of many types of patients. LNCS sensors are intended for hospitals that prefer to minimize clinician-user-interface change when upgrading their pulse oximetry to Masimo SET® and do not anticipate adopting rainbow® technology. LNCS sensors are cabled with a DB9 connector, compatible with LNC patient cables, which enables use with Masimo SET® pulse oximeters and Nellcor sensor-compatible instruments without OxiMax®. | LNCS sensors provide excellent SpO2 performance while facilitating patient comfort with a connector positioned away from the sensor application site. Specialty LNCS sensors with built-in intelligence are available for patients with limited or no access to digits or patients with extremely low perfusion. | Masimo | Pulse oximeter | 2501 | 1 | 1 | 3 Months | 100% Advance | 3 months
44 | NEONATAL REUSABLE SENSOR | NEONATAL REUSABLE SENSOR | LNCS, or Low Noise Cabled Sensors, are available in a wide variety of designs to serve the needs of many types of patients. LNCS sensors are intended for hospitals that prefer to minimize clinician-user-interface change when upgrading their pulse oximetry to Masimo SET® and do not anticipate adopting rainbow® technology. LNCS sensors are cabled with a DB9 connector, compatible with LNC patient cables, which enables use with Masimo SET® pulse oximeters and Nellcor sensor-compatible instruments without OxiMax®. | LNCS sensors provide excellent SpO2 performance while facilitating patient comfort with a connector positioned away from the sensor application site. Specialty LNCS sensors with built-in intelligence are available for patients with limited or no access to digits or patients with extremely low perfusion. | Masimo | Pulse oximeter | 2505 | 1 | 1 | 3 Months | 100% Advance | 3 months
45 | ADHESIVE SENSOR NEONATAL | ADHESIVE SENSOR NEONATAL | Appropriate for short- or long-term monitoring of adult, pediatric, infant, and neonatal patients,Designed for finger, toe, thumb, hand, or foot application, offering secure positioning of the optical components,SofTouch™ sensors are designed for patients with fragile skin and feature a non-adhesive wrap made from soft foam material, with hook-and-loop attachment,Minimize the risk of cross-contamination |  | Masimo | Pulse oximeter | 2516 | 1 | 20 | Nil | 100% Advance | 3 months
46 | M-Lncs Neopt-500 Non- Adh Sensor | Neopt-500 Non- Adh Sensor | Appropriate for short- or long-term monitoring of adult, pediatric, infant, and neonatal patients,Designed for finger, toe, thumb, hand, or foot application, offering secure positioning of the optical components,SofTouch™ sensors are designed for patients with fragile skin and feature a non-adhesive wrap made from soft foam material, with hook-and-loop attachment,Minimize the risk of cross-contamination |  | Masimo | Pulse oximeter | 2518 | 1 | 20 | Nil | 100% Advance | 3 months
47 | Patient Hose Male Quick Conn Metal Femal | Patient Hose Male Quick Conn Metal Femal | NIBP Patient Hose, 3 Meters, Male Quick Connect | NIBP Patient Hose, 3 Meters, Male Quick Connect | Masimo | Pulse oximeter | 25247 | 1 | 1 | Nil | 100% Advance | 3 months
48 | Nibp Patient Hose Female Bayonet | Nibp Patient Hose Female Bayonet | NIBP Patient Hose, 3 Meters, Female Bayonet | NIBP Patient Hose, 3 Meters, Female Bayonet | Masimo | Pulse oximeter | 25302 | 1 | 1 | Nil | 100% Advance | 3 months
49 | VP7 Drop Sensor | VP7 Drop Sensor |  |  | Fresenius Kabi | Pump | CS5000300 | 1 | 1 | NIL | 100% Adavance | 3 Months
50 | Force Sensor | Force Sensor |  |  | Fresenius Kabi | Pump | Z168480 | 1 | 1 | NIL | 100% Adavance | 3 Months
51 | MEDISORB TWIN PACK RE-FILL PKG | Soda Lime | The Medisorb™ CO2 absorbent product line supports GE Healthcare anesthesia machines. Available in a wide range of sizes and styles, it is specifically designed to help change out absorbers simply. It is also available in a low-alkaline formulation, Medisorb™ EF. | Medical Grade Soda Lime | BD | Vital Signs | 8570043 | 2 | 1 | nil | 100% Advance | 3 months
52 | MEDISORB PREPACKED CARTRIDGE | Soda Lime | The Medisorb™ CO2 absorbent product line supports GE Healthcare anesthesia machines. Available in a wide range of sizes and styles, it is specifically designed to help change out absorbers simply. It is also available in a low-alkaline formulation, Medisorb™ EF. | Medical Grade Soda Lime | BD | Vital Signs | 427000100 |  |  | nil | 100% Advance | 3 months
53 | Limb O circuit | heat /moisture retention circuit | Anesthesia /ICU Ventilator disposable patient tubing 102 CM 106 g | Anesthesia /ICU Ventilator disposable patient tubing | BD | Vital Signs | Afnxxxxx | 20 | 1 | nil | 100% Advance | 3 months
54 | Uni-Filters | Bacterial Filter | Designed for low breathing resistance, reducing the patient’s work of breathing | Bacterial Filter | BD | Vital Signs |  | 60 | 1 | nil | 100% Advance | 3 months
55 | HME Filter 1000/750/500/ | Heat /moisture exchange circuit | Disposable heat and moisture exchangers with integrated bacterial/viral filter Tidal Vol Range 300 - 1000 | Disposable heat and moisture exchangers with integrated bacterial/viral filter | BD | Vital Signs |  | 50 | 1 | nil | 100% Advance | 3 months
56 | Disposible Face Mask Size 1,2,3,4,5,6,7 | Face mask | Semi-flexible mask,Anatomical,Top valve,Colored hook ring for identification, Made without natural rubber latex or DEHP, Hook Ring Colour Red | Semi-flexible mask,Anatomical,Top valve,Colored hook ring for identification, Made without natural rubber latex or DEHP | CareFusion | Vital Signs |  | 1 | 1 | nil | 100% Advance | 3 months
57 | enFlow® IV fluid and blood warming system | Blood Warmer | The enFlow® system delivers the right temperature in the right place at the right time. | The enFlow® system delivers the right temperature in the right place at the right time. | CareFusion | Vital Signs |  | 1 | 1 | 1 | 100% Advance | 3 months
58 | Pressure Infusor Bags | Pressure Infusor Bags | reduce the risk of cross-contamination during fluid infusion | reduce the risk of cross-contamination during fluid infusion | BD | Vital Signs |  | 1 | 1 | nil | 100% Advance | 3 months
59 | Greenlight Laryngoscope | Fibre Optic Laryngoscope | The ergonomic, over-molded handles are lightweight and comfortable. A five-year warranty covers the handle | The ergonomic, over-molded handles are lightweight and comfortable. A five-year warranty covers the handle | BD | Vital Signs |  | 1 | 1 | 1 | 100% Advance | 3 months
60 | Disposa View | Head prone positioner | Made without DEHP, our lightweight Vital Signs® head positioner supports the patient during prone procedures. While the patient is comfortably positioned in the cradle, you can access the tracheal tube and view the patient through the unit openings and mirror. This product does not contain natural rubber latex. | head positioner supports the patient during prone procedures | BD | Vital Signs |  | 1 | 1 | nil | 100% Advance | 3 months
61 | Mac 1200 ECG paper | ECG Recording Papers | Thermally sensitive chart papers are available in a wide variety of formats and offer a bright-white quality paper stock for excellent trace legibility | Thermally sensitive chart papers are available in a wide variety of formats and offer a bright-white quality | BD | Vital Signs |  | 1 | 1500 sheets | nil | 100% Advance | 3 months
62 | Mac 2000 ECG paper | ECG Recording Papers | Thermally sensitive chart papers are available in a wide variety of formats and offer a bright-white quality paper stock for excellent trace legibility | Thermally sensitive chart papers are available in a wide variety of formats and offer a bright-white quality | BD | Vital Signs |  | 1 | 1500 sheets | nil | 100% Advance | 3 months
63 | Mac i ECG paper | ECG Recording Papers | Thermally sensitive chart papers are available in a wide variety of formats and offer a bright-white quality paper stock for excellent trace legibility | Thermally sensitive chart papers are available in a wide variety of formats and offer a bright-white quality | BD | Vital Signs |  | 1 | 2800 sheets | nil | 100% Advance | 3 months
64 | Mac 600 ECG paper | ECG Recording Papers | Thermally sensitive chart papers are available in a wide variety of formats and offer a bright-white quality paper stock for excellent trace legibility | Thermally sensitive chart papers are available in a wide variety of formats and offer a bright-white quality | BD | Vital Signs |  | 1 | 2800 sheets | nil | 100% Advance | 3 months
65 | Mac 400 ECG paper | ECG Recording Papers | Thermally sensitive chart papers are available in a wide variety of formats and offer a bright-white quality paper stock for excellent trace legibility | Thermally sensitive chart papers are available in a wide variety of formats and offer a bright-white quality | BD | Vital Signs |  | 1 | 2800 sheets | nil | 100% Advance | 3 months
66 | Mac 5500/CASE ECG paper | ECG Recording Papers | Thermally sensitive chart papers are available in a wide variety of formats and offer a bright-white quality paper stock for excellent trace legibility | Thermally sensitive chart papers are available in a wide variety of formats and offer a bright-white quality | BD | Vital Signs |  | 1 | 2400 sheeets | nil | 100% Advance | 3 months
67 | ECG Recording Papers | Coro 170/250 series paper | Thermally sensitive chart papers are available in a wide variety of formats and offer a bright-white quality paper stock for excellent trace legibility | Thermally sensitive chart papers are available in a wide variety of formats and offer a bright-white quality | BD | Vital Signs |  | 1 | 2000 sheets | nil | 100% Advance | 3 months